## Slide 1
Home energy
Cutting the heating bill
What to do first, and what it pays back
Autumn review

## Slide 2
Insulate before you replace the boiler
1
Heating is most of the bill
Two thirds of a home's energy goes into heating rooms.
2
Lost heat is paid twice
A bigger boiler only heats the street faster.
3
Insulation pays back first
Loft and walls pay back in four to seven years.

## Slide 3
Four numbers to watch
66%
Heating share
of home energy use
3x
Heat pump gain
heat out per unit of power in
4 yrs
Loft payback
for a typical detached house
12%
Hot water
second largest use

## Slide 4
Three places the heat escapes
Roof
A quarter of the heat leaves through an uninsulated loft.
Walls
A third goes through solid or empty cavity walls.
Draughts
Gaps around doors and windows add up to an open window.

## Slide 5
What the survey found
Most homes lose heat through the roof first
Cavity walls are often half filled
Thermostats are set two degrees too high
Takeaway
Start with the loft, then the walls, then the controls.

## Slide 6
The order that works
1
Survey the house
A half-day visit with a thermal camera.
2
Insulate the loft
The cheapest heat saved, done in a day.
3
Fill the walls
Cavity or external, depending on the walls.
4
Fix the controls
Room thermostats and a smart timer.
5
Size the heat pump
Smaller, once the losses are down.

## Slide 7
Four steps, one year
01
Winter
Survey and quotes while heating needs are visible.
02
Spring
Loft and draught proofing before the warm months.
03
Summer
Wall insulation in dry weather.
04
Autumn
Controls and heat pump ready for the cold.

## Slide 8
What it saves
-35%
Heating demand
after loft and walls
-50%
Running cost
with a smaller heat pump
6 yrs
Overall payback
for the whole plan

## Slide 9
Next steps
This month
Book the survey
Household
Next month
Compare three quotes
Household
Spring
Insulate the loft
Installer

## Slide 10
Thank you
Questions and next visit
Energy advice desk
Free survey booking
Local installers list
Approved for grants